THE PROBLEM

When using my Radio Shack multimeter with the RS-232 interface I

could not help but think of a thousand and one possible applications

for this useful device.  It would be neat, plot the voltage of a solar

panel over the span of a day, measure the A.C. line voltage looking for

sags.  Which battery was really better?  My fond thoughts of using this

multimeter for logging a wide variety of projects were disrupted with

the reality that I could not use my "main" computer for long term pro-

jects.  While pondering using my old XT with the 10MB hard drive and CGA

monitor, I realized it did not meet the minimum system requirements for

the software! Wait a moment,  I have....

THE SOLUTION

Software that would run on a monochrome or CGA monitor,  no hard

drive required. There are a lot of old "XT" computers sitting around

collecting dust that could be easily obtained for extended tests.

Disk output that could import into a spreadsheet with little effort.

EASY OPERATION

Load DMM1 into system memory by typing "DMM1", once loaded, put

a blank (formatted) diskette into drive A. The program will prompt

the user for the proper COM port.  Once the COM port is selected,

the program will proceed to take data from the DMM. Information is

written onto the diskette on drive A.  If left uninterrupted, it

will take 8000 readings as fast as the meter/computer combination will

allow (approximately 3 readings per second) . This number is selected

as it is a little smaller than the maximum size of some of the popular

spreadsheets and takes up approximately 336K of data.The output filename

is DMM.PRN. It is easy to import this data into your favorite spread-

sheet, import it as numbers only. This will show a start time/date on

the first line. The following lines will have a reading number, followed

by the DMM reading. The last line imported will be the ending time/date.

BUT WAIT.. THERE'S MORE

There is software that is available that will allow even more

options for those wanting the most out of their multimeter.  It will

allow the user to control the following:

1- The number of reading taken <1 to 10,000>

2- The serial port <COM 1 OR 2>

3- Delayed start time <up to 23 hours 59 min. ahead of time>

4- Trigger from the keyboard

5- Data disk drive <Yes! either A or B>

6- Delay between readings variable from no delay to 1200 seconds

(20 min).

7- Data storage format<reading number,with or without time, DMM data>

For the low price of $15.00, <This is all you pay*, no shipping

or handling charges> *=Oklahoma residents must include sales tax,

see order form below. You may become a registered user and own

some  fine software.

HARDWARE REQUIREMENTS:

An IBM PC or compatible with 1 or more COM ports and a Radio

Shack model 22-168 digital multimeter with serial interface

cable.

OPERATION ERRORS

1.Disk errors:  If you forget and leave the drive door open like we all

do sometimes, the program will forgive you! It will give you an error

message followed by an error code. The most common are:

error  12- General failure the most common cause is a diskette

that is not formatted or is defective.

error  0- Write protect error. (this also happens if the disk

is full).

error  2- Drive not ready. (is that drive door closed?)

2.Serial errors: The most common error is the program hangs

and will not recover when it attempts to

first access the DMM. Usually the DMM is off

or has powered itself off.  If this happens,

do a Ctrl-Alt-Delete and boot up from scratch.

If a disk error occurs, it will return you to the opening

screen, usually, if execution is halted it is best to start

from the beginning.

CONDITIONS OF USE

1. This software may be distributed to any BBS or individual as

long as both files (DMM1.exe and DMM1.DOC) are left intact and

unchanged. Compressing the files is OK, and files may be added

for BBS extraction  routines.

2. Any individual or company may use this for 30 days FREE to

determine the suitability for their application.

3. Bulletin boards may keep these files as long as they wish.

4. The maximum labor and material fee charged for copies of this

software for distribution may not  exceed $6.00 US funds.

5. It is the user's responsibility to determine the suitability

of this software for their application. No warranty is

expressed or implied.

Name: __________________________________________________________

Address ________________________________________________________

________________________________________________________

City,State _____________________________________________________

Zip code  ______________________________________________________

What BBS did you upload this software from?

________________________________________________________________

It's phone number??

________________________________________________________________

Yes! I would like ______ copies at $15.00 each _________________

Shipping/handling     FREE!

Oklahoma residents please include   4.5% sales tax____________

================================================================

Total

__________________

I would like the diskettes in the following media format:

5.25" 360K floppy [ ]              3.5" 720k floppy [ ]

Please send the above with check or money order payable to:

Allen R. Ryel

P.O. Box 850367

Yukon, Ok 73085-036